## SINEAX I552
|  |  | Transducer for AC current | [6 empty] | SINEAX I552
|  |  | Description | [5 empty] | Blo- cking code | No-go with blocking code | Article No./ Feature
552- |  |  | SINEAX I552, RMS value measurement, 2 measuring ranges, with power supply | [7 empty] | 552-
Features, Selection
552- | BWM_552_01 |  | 01.Mechanical design
552- | BWM_552_01 | 4 | In housing P13,rail mounting | [7 empty] | 4
552- | BWM_552_02 |  | 02.Frequency of input current
552- | BWM_552_02 | 1 | Nominal frequency: 50 Hz | [7 empty] | 1
552- | BWM_552_02 | 3 | Nominal frequency: 400 Hz | [7 empty] | 3
552- | BWM_552_03 |  | 03.Measuring range
552- | BWM_552_03 | 1 | Measuring range: 0...1 / 5 A | [7 empty] | 1
552- | BWM_552_03 | 2 | Measuring range: 0..1.2/ 6 A | [7 empty] | 2
552- | BWM_552_03 | 9 | Measuring range [A]: | [7 empty] | 9
Line 9: Non-standard 0...0.1 / 0.5 to 0...< 1.2 / 6
Measuring range end value ratio 1:5
552- | BWM_552_04 |  | 04.Output signal
552- | BWM_552_04 | 1 | Output: 0...20 mA | [7 empty] | 1
552- | BWM_552_04 | 2 | Output: 4...20 mA | [7 empty] | 2
552- | BWM_552_04 | 9 | Output [mA]: | [7 empty] | 9
552- | BWM_552_04 | A | Output: 0...10 V | [7 empty] | A
552- | BWM_552_04 | Z | Output [V]: | [7 empty] | Z
Line 9: Non-standard 0...1.00 to 0 to 0...< 20 or 0.2...1 to < (4...20)
Line Z: Non-standard 0...1.00 to 0... < 10 or 0.2...1 to 2...10
552- | BWM_552_05 |  | 05.Power supply
552- | BWM_552_05 | 1 | Pow.sup.Uh: 85...230 V DC/AC | [7 empty] | 1
552- | BWM_552_05 | 2 | Pow.sup.Uh: 24....60 V DC/AC | [7 empty] | 2
552- | BWM_552_05 | 5 | Uh: 24VAC/24..60VDC low v.s. | [7 empty] | 5
552- | BWM_552_06 |  | 06.Response time
552- | BWM_552_06 | 1 | Response time: 0,3 s | [7 empty] | 1
552- | BWM_552_06 | 2 | Response time: 50 ms | [7 empty] | 2
552- | BWM_552_07 |  | 07.Test certificate
552- | BWM_552_07 | 0 | without test certificate | [7 empty] | 0
552- | BWM_552_07 | D | Test certificate in German | [7 empty] | D
552- | BWM_552_07 | E | Test certificate in English | [7 empty] | E
#REF!
|  |  | Version |  | Nominal frequency | Measuring range selectable at terminals | Output signal | Power supply DC or 50…400 Hz |  | Setting time | Article Number
133760 |  |  | Housing P13/70 for rail mounting |  | 50/60 Hz | 0...1,0 A / 5 A | 4...20 mA | 85...230 V |  | 300 ms | 133760
Accessories and spare parts SINEAX I552
|  |  | Description | [6 empty] | Article Number
131219 |  |  | Additional operating instructions SINEAX I552 Bd-f-e (1 colpy already included within scope of supply) | [6 empty] | 131219